## Instructions
Instructions
The following forms are the minimum required reporting requirements for Level 1 and Level 2
Energy Audits.
All sheets labeled "All" are to be completed for Level 1, 2, and 3 Energy Audits
All sheets labeled "L1" are to be completed for Level 1 Energy Audits
All sheets labeled "L2" are to be completed for Level 2 and Level 3 Energy Audits
user input |  | Cells shown in blue highlight like this require user input.
calculated |  | Cells shown in green highlight will update automatically.
* |  | Cells shown with an asterisk are required inputs for the Asset Score tool.
The reporting forms may be duplicated and modified to adapt to unique combinations of fuel
sources, onsite generation, or delivered energy.
Set Units below to IP or SI, forms will update accordingly.
Units | IP
Specific Notes on Select Tabs
All - Annual Summary
Formulas under ''Total Annual Use' column prorate the energy use to a full calendar year (365 days). This is done to correct for differences between utility bill data and expected actual usage.
All - Metered Energy
Explanation of the 'Days' calculation - Utilities will often report usage from midnight to midnight; but sometimes they will take a reading at a specific time of day. In the latter case, the end date will match the start date of the following month's bill. But in the former case, the end date of one bill will be offset by one day in the following month's bill. The formula simultaneously accounts for both the former and the latter case. User to modify formula if incorrect for application.
Note to Reviewers
The data included as input here will be deleted from final versions. This is just artificial sample data to test the functionality of the forms.
Still needed: SI units and international compatibility (e.g., addresses)

## All - Building
All Audit Levels - Building Characteristics
Building Name* | Test Building Input Data |  |  | user input
Building Owner | Test Owner |  |  | calculated
Energy Auditor | John Doe
Street* | 9999 Tulie Circle
City* | Atlanta
State* | GA
Postal Code* | 99999-9999
Date of site visit(s) | 2015-07-04
Primary Building use type* | Office
Client Name
Key Contact
|  |  | Year of construction* | 1888
|  |  | Last Renovation* | 2001
|  |  | Year of Prior Energy Audit | 2001
|  |  | Year Last Commissioned | 2010
Gross floor area* | 49000 | sq ft | Building automation system? (Y/N) | Y
Total Number of Floors | 13 |  | Historical landmark status? (Y/N) | N
Total conditioned area | 198000 | sq ft | Percent owned (%) | 100%
Conditioned area (heated only) | 99000 | sq ft | Percent leased (%) | 0%
Conditioned area (cooled only) | 99000 | sq ft | Spaces excluded from gross floor area:
Conditioned Floors Above grade* | 10 |  | Parking areas
Conditioned Floors Below grade* | 1 |  | Mechanical spaces
Space Function* | Floor Area | %
Office | 79200 | 80%
Personal Services (Health/Beauty, Dry Cleaning, etc) | 4950 | 5%
Restaurant | 14850 | 15%
Total | 99000
Occupancy*
Typical occupancy | 60 | hours/week
Typical occupancy | 52.14 | weeks/year
Typical number of occupants (during occ hours) | 99999
Number of Dwelling Units in Building (Multifamily Only) | 85
% of Dwelling Units currently Occupied (Multifamily Only) | 80%
Energy Sources**
Energy Source | ID |  | Type | Rate schedule
Electricity | 999-9999 |  | Direct metering | WSE 999-999
Electricity | 999-9999 |  | Master meter without sub-metering
Natural gas | 999-9999 |  | Master meter with sub-metering
Chilled Water | 999-9999 |  | Combination
Hot Water | 999-9999 |  | Unknown
Fuel Oil | 999-9999
Steam | 999-9999
Renewable Energy | 999-9999
Other | 999-9999
The rate structures under which energy is purchased shall be reported including the following: utility service classification, marginal rates, incremental block rate structures, demand components, ratchets, seasonal, time-of-use, real-time rates, penalties for reduced consumption, interruptible rates, taxes, fuel cost adjustments, and other surcharges. These need not be spelled out individually, but a statement shall be made confirming all such applicable taxes and adjustments have been factored into the energy rate computations.
Facility Description - Notable Conditions
Observed conditions, including comfort/safety/health concern, need for repair, need for maintenance, opportunities to improve maintenance pratices or O&M procedures, etc.
* For buildings with multiple space type uses report for predominant use type
** Cells shown with an asterisk are required inputs for the Asset Score tool.
Note on A28: Jim Kelsey: Insert additional rows as needed. Matches "Occupancy Class" in BEDES
Note on B44: Identifier(s) of utility accounts.
Note on E44: Jim Kelsey: Direct metering (Tenants directly metered) Master meter without sub-metering (Tenants not directly metered or sub-metered) Master meter with sub-metering (Tenants sub-metered by building owner) Combination Unknown

## All - Metered Energy
All Audit Levels - Metered Energy
Guidance on the terms "Main Data for Analysis" and "Supporting Annual Use Data"
Building Name |  | Test Building Input Data |  |  |  | user input |  | Main Data for Analysis - Filling in these tables is mandatory, and the data in these tables will be referenced throughout the rest of the forms, such as the End Use Breakdown, Annual Summary, and QA/QC
Gross floor area |  | 49000 |  |  |  | calculated
Date |  | 2016-05-06
Utility #1 |  | Electricity | [5 empty] | Supporting Annual Use Data - Filling in these tables is only required if the auditor is using more than 12 months of consecutive data. This supporting data from historical energy use can be used to inform the Main Data for Analysis.
Utility #2 |  | Natural Gas
Utility #3 |  | Purchased Steam
Utility #1 - Shall be Electricity if present at the site
If sampling of meters was performed during utility analysis, describe methodology here:
Of the direct 100 electric accounts at the building, a total of 25 were tabulated to come up with the average usage per sqft, and this information was extrapolated to estimate the remainder of the data.
Utility #1 | Electricity | [5 empty] | Summary info for graphs [do not print]
MAIN DATA FOR ANALYSIS - Electricity | [6 empty] | MAIN DATA FOR ANALYSIS - Use per Day
Start Date | End Date | Days | Electricity Use (kWh) | Electricity Peak (kW) | Electricity Cost ($) | Electricity Load Factor | Total Cost ($) | Electricity kWh/day | Natural Gas therms/day | Purchased Steam lbs District Steam/day | Electricity kBTU/day | Natural Gas kBTU/day | Purchased Steam kBTU/day | total
2010-01-01 | 2010-02-01 | 31 | 83333.3333 | 200 | 8333.3333 | 56% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-02-01 | 2010-03-01 | 28 | 83333.3333 | 225 | 8333.3333 | 55.11% | 12912.0833 | 2976.1905 | 76.6071 | 441.9643 | 10154.7619 | 7660.7143 | 527.7054 | 18343.1815
2010-03-02 | 2010-04-01 | 31 | 83333.3333 | 240 | 8333.3333 | 46.67% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-04-02 | 2010-05-01 | 30 | 83333.3333 | 280 | 8333.3333 | 41.34% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-05-02 | 2010-06-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-06-02 | 2010-07-01 | 30 | 83333.3333 | 350 | 8333.3333 | 33.07% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-07-02 | 2010-08-01 | 31 | 83333.3333 | 325 | 8333.3333 | 34.46% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-08-02 | 2010-09-01 | 31 | 83333.3333 | 400 | 8333.3333 | 28% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-09-02 | 2010-10-01 | 30 | 83333.3333 | 375 | 8333.3333 | 30.86% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-10-02 | 2010-11-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-11-02 | 2010-12-01 | 30 | 83333.3333 | 325 | 8333.3333 | 35.61% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-12-02 | 2011-01-01 | 31 | 83333.3333 | 250 | 8333.3333 | 44.8% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
Annual Total |  | 365 | 1000000 | 400 | 100000 |  | 154945 | [6 empty] | 202800.6373
SUPPORTING ANNUAL USE DATA - Electricity | [6 empty] | SUPPORTING ANNUAL USE DATA - Use per Day
Start Date | End Date | Days | Electricity Use (kWh) | Electricity Peak (kW) | Electricity Cost ($) | Electricity Load Factor | Total Cost ($) | Electricity kWh/day | Natural Gas therms/day | Purchased Steam /day | Electricity kBTU/day | Natural Gas kBTU/day | Purchased Steam kBTU/day | total
2010-01-01 | 2010-02-01 | 31 | 18000 | 150 | 4000 | 16.13% | 8578.75 | 580.6452 | 14.5161 | 129.0323 | 1981.1613 | 1451.6129 | 154.0645 | 3586.8387
2010-02-01 | 2010-03-01 | 28 | 83333.3333 | 225 | 8333.3333 | 55.11% | 12912.0833 | 2976.1905 | 76.6071 | 441.9643 | 10154.7619 | 7660.7143 | 527.7054 | 18343.1815
2010-03-02 | 2010-04-01 | 31 | 83333.3333 | 240 | 8333.3333 | 46.67% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-04-02 | 2010-05-01 | 30 | 83333.3333 | 280 | 8333.3333 | 41.34% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-05-02 | 2010-06-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-06-02 | 2010-07-01 | 30 | 83333.3333 | 350 | 8333.3333 | 33.07% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-07-02 | 2010-08-01 | 31 | 83333.3333 | 325 | 8333.3333 | 34.46% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-08-02 | 2010-09-01 | 31 | 83333.3333 | 400 | 8333.3333 | 28% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-09-02 | 2010-10-01 | 30 | 83333.3333 | 375 | 8333.3333 | 30.86% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-10-02 | 2010-11-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-11-02 | 2010-12-01 | 30 | 83333.3333 | 325 | 8333.3333 | 35.61% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-12-02 | 2011-01-01 | 31 | 83333.3333 | 250 | 8333.3333 | 44.8% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
Annual Total |  | 365 | 934666.6667 | 400 | 95666.6667 | 26.67% | 150611.6667 | [6 empty] | 189819.441
SUPPORTING ANNUAL USE DATA - Electricity | [6 empty] | SUPPORTING ANNUAL USE DATA - Use per Day
Start Date | End Date | Days | Electricity Use (kWh) | Electricity Peak (kW) | Electricity Cost ($) | Electricity Load Factor | Total Cost ($) | Electricity kWh/day | Natural Gas therms/day | Purchased Steam /day | Electricity kBTU/day | Natural Gas kBTU/day | Purchased Steam kBTU/day | total
2010-01-01 | 2010-02-01 | 31 | 8000 | 50 | 3000 | 21.51% | 7578.75 | 258.0645 | 6.4516 | 64.5161 | 880.5161 | 645.1613 | 77.0323 | 1602.7097
2010-02-01 | 2010-03-01 | 28 | 83333.3333 | 225 | 8333.3333 | 55.11% | 12912.0833 | 2976.1905 | 76.6071 | 441.9643 | 10154.7619 | 7660.7143 | 527.7054 | 18343.1815
2010-03-02 | 2010-04-01 | 31 | 83333.3333 | 240 | 8333.3333 | 46.67% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-04-02 | 2010-05-01 | 30 | 83333.3333 | 280 | 8333.3333 | 41.34% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-05-02 | 2010-06-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-06-02 | 2010-07-01 | 30 | 83333.3333 | 350 | 8333.3333 | 33.07% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-07-02 | 2010-08-01 | 31 | 83333.3333 | 325 | 8333.3333 | 34.46% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-08-02 | 2010-09-01 | 31 | 83333.3333 | 400 | 8333.3333 | 28% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-09-02 | 2010-10-01 | 30 | 83333.3333 | 375 | 8333.3333 | 30.86% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-10-02 | 2010-11-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-11-02 | 2010-12-01 | 30 | 83333.3333 | 325 | 8333.3333 | 35.61% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-12-02 | 2011-01-01 | 31 | 83333.3333 | 250 | 8333.3333 | 44.8% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
Annual Total |  | 365 | 924666.6667 | 400 | 94666.6667 | 26.39% | 149611.6667 | [6 empty] | 187835.312
SUPPORTING ANNUAL USE DATA - Electricity | [6 empty] | SUPPORTING ANNUAL USE DATA - Use per Day
Start Date | End Date | Days | Electricity Use (kWh) | Electricity Peak (kW) | Electricity Cost ($) | Electricity Load Factor | Total Cost ($) | Electricity kWh/day | Natural Gas therms/day | Purchased Steam /day | Electricity kBTU/day | Natural Gas kBTU/day | Purchased Steam kBTU/day | total
2010-01-01 | 2010-02-01 | 31 | 8000 | 50 | 3000 | 21.51% | 7578.75 | 258.0645 | 6.4516 | 64.5161 | 880.5161 | 645.1613 | 77.0323 | 1602.7097
2010-02-01 | 2010-03-01 | 28 | 83333.3333 | 225 | 8333.3333 | 55.11% | 12912.0833 | 2976.1905 | 76.6071 | 441.9643 | 10154.7619 | 7660.7143 | 527.7054 | 18343.1815
2010-03-02 | 2010-04-01 | 31 | 83333.3333 | 240 | 8333.3333 | 46.67% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-04-02 | 2010-05-01 | 30 | 83333.3333 | 280 | 8333.3333 | 41.34% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-05-02 | 2010-06-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-06-02 | 2010-07-01 | 30 | 83333.3333 | 350 | 8333.3333 | 33.07% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-07-02 | 2010-08-01 | 31 | 83333.3333 | 325 | 8333.3333 | 34.46% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-08-02 | 2010-09-01 | 31 | 83333.3333 | 400 | 8333.3333 | 28% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-09-02 | 2010-10-01 | 30 | 83333.3333 | 375 | 8333.3333 | 30.86% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-10-02 | 2010-11-01 | 31 | 83333.3333 | 300 | 8333.3333 | 37.34% | 12912.0833 | 2688.172 | 69.1935 | 399.1935 | 9172.043 | 6919.3548 | 476.6371 | 16568.0349
2010-11-02 | 2010-12-01 | 30 | 83333.3333 | 325 | 8333.3333 | 35.61% | 12912.0833 | 2777.7778 | 71.5 | 412.5 | 9477.7778 | 7150 | 492.525 | 17120.3028
2010-12-02 | 2011-01-01 | 31 | 83333.3333 | 250 | 8333.3333 | 44.8% | 12912.0833 | 2688.172 | 0.16129 | 399.1935 | 9172.043 | 16.129 | 476.6371 | 9664.8091
Annual Total |  | 365 | 924666.6667 | 400 | 94666.6667 | 26.39% | 149611.6667 | [6 empty] | 180932.0862
Utility #1: Definition | [6 empty] | * Enter name and units for Energy type X. Use terms from ASHRAE Standard 105 as appropriate (listed below).
Units | kWh | [5 empty] | * Insert additional columns if there are more than 3 energy types and modify summary table as needed
kBtu/unit | 3.412 | [5 empty] | * If cogeneration or CHP systems supply the building and are outside the building boundary, then the energy supplied will be hot water, steam, chilled water, and/or electricity that are accounted for as Energy Type X in this table. If that system is inside the building boundary, then the energy supplied will be natural gas that is entered into this table.
Utility #2 | Natural Gas
MAIN DATA FOR ANALYSIS - Natural Gas
Start Date | End Date | Days | Natural Gas Use (therms) | Natural Gas Cost ($)
2010-01-01 | 2010-02-01 | 31 | 2145 | 1608.75
2010-02-01 | 2010-03-01 | 28 | 2145 | 1608.75
2010-03-02 | 2010-04-01 | 31 | 2145 | 1608.75
2010-04-02 | 2010-05-01 | 30 | 2145 | 1608.75
2010-05-02 | 2010-06-01 | 31 | 2145 | 1608.75
2010-06-02 | 2010-07-01 | 30 | 2145 | 1608.75
2010-07-02 | 2010-08-01 | 31 | 2145 | 1608.75
2010-08-02 | 2010-09-01 | 31 | 2145 | 1608.75
2010-09-02 | 2010-10-01 | 30 | 2145 | 1608.75
2010-10-02 | 2010-11-01 | 31 | 2145 | 1608.75
2010-11-02 | 2010-12-01 | 30 | 2145 | 1608.75
2010-12-02 | 2011-01-01 | 31 | 2145 | 1608.75
Annual Total |  | 365 | 25740 | 19305
SUPPORTING ANNUAL USE DATA - Natural Gas
Start Date | End Date | Days | Natural Gas Use (therms) | Natural Gas Cost ($)
2010-01-01 | 2010-02-01 | 31 | 450 | 1608.75
2010-02-01 | 2010-03-01 | 28 | 2145 | 1608.75
2010-03-02 | 2010-04-01 | 31 | 2145 | 1608.75
2010-04-02 | 2010-05-01 | 30 | 2145 | 1608.75
2010-05-02 | 2010-06-01 | 31 | 2145 | 1608.75
2010-06-02 | 2010-07-01 | 30 | 2145 | 1608.75
2010-07-02 | 2010-08-01 | 31 | 2145 | 1608.75
2010-08-02 | 2010-09-01 | 31 | 2145 | 1608.75
2010-09-02 | 2010-10-01 | 30 | 2145 | 1608.75
2010-10-02 | 2010-11-01 | 31 | 2145 | 1608.75
2010-11-02 | 2010-12-01 | 30 | 2145 | 1608.75
2010-12-02 | 2011-01-01 | 31 | 2145 | 1608.75
Annual Total |  | 365 | 24045 | 19305
SUPPORTING ANNUAL USE DATA - Natural Gas
Start Date | End Date | Days | Natural Gas Use (therms) | Natural Gas Cost ($)
2010-01-01 | 2010-02-01 | 31 | 200 | 1608.75
2010-02-01 | 2010-03-01 | 28 | 2145 | 1608.75
2010-03-02 | 2010-04-01 | 31 | 2145 | 1608.75
2010-04-02 | 2010-05-01 | 30 | 2145 | 1608.75
2010-05-02 | 2010-06-01 | 31 | 2145 | 1608.75
2010-06-02 | 2010-07-01 | 30 | 2145 | 1608.75
2010-07-02 | 2010-08-01 | 31 | 2145 | 1608.75
2010-08-02 | 2010-09-01 | 31 | 2145 | 1608.75
2010-09-02 | 2010-10-01 | 30 | 2145 | 1608.75
2010-10-02 | 2010-11-01 | 31 | 2145 | 1608.75
2010-11-02 | 2010-12-01 | 30 | 2145 | 1608.75
2010-12-02 | 2011-01-01 | 31 | 2145 | 1608.75
Annual Total |  | 365 | 25740 | 19305
SUPPORTING ANNUAL USE DATA - Natural Gas
Start Date | End Date | Days | Natural Gas Use (therms) | Natural Gas Cost ($)
2010-01-01 | 2010-02-01 | 31 | 200 | 1608.75
2010-02-01 | 2010-03-01 | 28 | 2145 | 1608.75
2010-03-02 | 2010-04-01 | 31 | 2145 | 1608.75
2010-04-02 | 2010-05-01 | 30 | 2145 | 1608.75
2010-05-02 | 2010-06-01 | 31 | 2145 | 1608.75
2010-06-02 | 2010-07-01 | 30 | 2145 | 1608.75
2010-07-02 | 2010-08-01 | 31 | 2145 | 1608.75
2010-08-02 | 2010-09-01 | 31 | 2145 | 1608.75
2010-09-02 | 2010-10-01 | 30 | 2145 | 1608.75
2010-10-02 | 2010-11-01 | 31 | 2145 | 1608.75
2010-11-02 | 2010-12-01 | 30 | 2145 | 1608.75
2010-12-02 | 2011-01-01 | 31 | 5 | 1608.75
Annual Total |  | 365 | 24045 | 19305
Utility #2: Definition
Units | therms
kBtu/unit | 100
Utility #3 | Purchased Steam
MAIN DATA FOR ANALYSIS - Purchased Steam
Start Date | End Date | Days | Purchased Steam Use (lbs District Steam) | Purchased Steam Cost ($)
2010-01-01 | 2010-02-01 | 31 | 12375 | 2970
2010-02-01 | 2010-03-01 | 28 | 12375 | 2970
2010-03-02 | 2010-04-01 | 31 | 12375 | 2970
2010-04-02 | 2010-05-01 | 30 | 12375 | 2970
2010-05-02 | 2010-06-01 | 31 | 12375 | 2970
2010-06-02 | 2010-07-01 | 30 | 12375 | 2970
2010-07-02 | 2010-08-01 | 31 | 12375 | 2970
2010-08-02 | 2010-09-01 | 31 | 12375 | 2970
2010-09-02 | 2010-10-01 | 30 | 12375 | 2970
2010-10-02 | 2010-11-01 | 31 | 12375 | 2970
2010-11-02 | 2010-12-01 | 30 | 12375 | 2970
2010-12-02 | 2011-01-01 | 31 | 12375 | 2970
Annual Total |  | 365 | 148500 | 35640
SUPPORTING ANNUAL USE DATA - Purchased Steam
Start Date | End Date | Days | Purchased Steam Use (lbs District Steam) | Purchased Steam Cost ($)
2010-01-01 | 2010-02-01 | 31 | 4000 | 2970
2010-02-01 | 2010-03-01 | 28 | 12375 | 2970
2010-03-02 | 2010-04-01 | 31 | 12375 | 2970
2010-04-02 | 2010-05-01 | 30 | 12375 | 2970
2010-05-02 | 2010-06-01 | 31 | 12375 | 2970
2010-06-02 | 2010-07-01 | 30 | 12375 | 2970
2010-07-02 | 2010-08-01 | 31 | 12375 | 2970
2010-08-02 | 2010-09-01 | 31 | 12375 | 2970
2010-09-02 | 2010-10-01 | 30 | 12375 | 2970
2010-10-02 | 2010-11-01 | 31 | 12375 | 2970
2010-11-02 | 2010-12-01 | 30 | 12375 | 2970
2010-12-02 | 2011-01-01 | 31 | 12375 | 2970
Annual Total |  | 365 | 140125 | 35640
SUPPORTING ANNUAL USE DATA - Purchased Steam
Start Date | End Date | Days | Purchased Steam Use (lbs District Steam) | Purchased Steam Cost ($)
2010-01-01 | 2010-02-01 | 31 | 2000 | 2970
2010-02-01 | 2010-03-01 | 28 | 12375 | 2970
2010-03-02 | 2010-04-01 | 31 | 12375 | 2970
2010-04-02 | 2010-05-01 | 30 | 12375 | 2970
2010-05-02 | 2010-06-01 | 31 | 12375 | 2970
2010-06-02 | 2010-07-01 | 30 | 12375 | 2970
2010-07-02 | 2010-08-01 | 31 | 12375 | 2970
2010-08-02 | 2010-09-01 | 31 | 12375 | 2970
2010-09-02 | 2010-10-01 | 30 | 12375 | 2970
2010-10-02 | 2010-11-01 | 31 | 12375 | 2970
2010-11-02 | 2010-12-01 | 30 | 12375 | 2970
2010-12-02 | 2011-01-01 | 31 | 12375 | 2970
Annual Total |  | 365 | 148500 | 35640
SUPPORTING ANNUAL USE DATA - Purchased Steam
Start Date | End Date | Days | Purchased Steam Use (lbs District Steam) | Purchased Steam Cost ($)
2010-01-01 | 2010-02-01 | 31 | 2000 | 2970
2010-02-01 | 2010-03-01 | 28 | 12375 | 2970
2010-03-02 | 2010-04-01 | 31 | 12375 | 2970
2010-04-02 | 2010-05-01 | 30 | 12375 | 2970
2010-05-02 | 2010-06-01 | 31 | 12375 | 2970
2010-06-02 | 2010-07-01 | 30 | 12375 | 2970
2010-07-02 | 2010-08-01 | 31 | 12375 | 2970
2010-08-02 | 2010-09-01 | 31 | 12375 | 2970
2010-09-02 | 2010-10-01 | 30 | 12375 | 2970
2010-10-02 | 2010-11-01 | 31 | 12375 | 2970
2010-11-02 | 2010-12-01 | 30 | 12375 | 2970
2010-12-02 | 2011-01-01 | 31 | 12375 | 2970
Annual Total |  | 365 | 140125 | 35640
Utility #3: Definition
Units | lbs District Steam
kBtu/unit | 1.194
Note on E32: Maximum of above values
Note on E48: Maximum of above values
Note on E64: Maximum of above values
Note on E80: Maximum of above values

## All - Delivered Energy
All Audit Levels - Delivered Energy
|  | Delivered Energy Type (if applicable) | Oil
|  | Units | gallons (Fuel Oil #2)
|  | Conversion to kBTU | 139
| Delivery date | Oil gallons | Oil kBTU | Oil Cost ($)
| 2016-05-16 | 200 | 27800 | 500 | user input
calculated
Annual Summary Totals
Estimated Annual Use** |  | 200 | gallons (Fuel Oil #2)
Estimated Annual Energy |  | 27800 | kBTU
Unit Rate of Fuel |  | 2.5 | $/gallons (Fuel Oil #2)
Estimated Annual Cost |  | 500
**Auditor to estimate the annualized use, which may differ from delivered quantities.
Enter additional tables for more delivered energy types and modify summary table as needed
Enter additional rows for more deliveries

## All - Annual Summary
All Audit Levels - Annual Summary
user input
Existing Building |  |  |  |  | calculated
Energy Type | Total Annual Use | Units | Conversion Multiplier | Thousands BTU (kBtu) | Total Annual Cost ($)
Electricity | 1000000 | kWh | 3.412 | 3412000 | 100000
Natural Gas | 25740 | therms | 100 | 2574000 | 19305
Purchased Steam | 148500 | lbs District Steam | 1.194 | 177309 | 35640
Purchased Hot Water | 0 | kWh | 3.412 | 0 | 0
Purchased Chilled Water | 0 | MMBtu | 1000 | 0 | 0
Oil | 200 | gallons (Fuel Oil #2) | 139 | 27800 | 500
Propane | 0 |  |  |  | 0
Coal | 0 |  |  |  | 0
Other | 0 |  |  |  | 0
Thermal - On-Site Generated | 0 |  |  |  | 0
Electricity - On-Site Generated | 0 |  |  |  | 0
Thermal or Electricity - Exported | 0 |  |  |  | 0
| 0 |  |  |  | 0
|  |  | Total | 6191109 | 155445
Existing Building EUI/ECI
Building Name | Test Building Input Data
Gross Conditioned Square Feet | 49000
EUI (energy use intensity or kBtu/sf/yr) | 126.3492
ECI (energy cost index or $/sf/yr) | 3.1723
Benchmarking & Target EUI/ECI
Benchmark Source | e.g., ENERGY STAR Site EUI
Benchmark EUI (kBtu/sf) | 180
Target EUI (kBtu/sf) | 110
Target ECI ($/sf)
Annual Energy Savings to Reach Target | 3430000 | kBTU
Annual Cost Savings to Reach Target |  | (if available)
Notes:
Site
Building
Establish either an EUI or ECI target (not both) in consultation with building owner.
Note on B11: User should make sure that the usage entered for Oil represents approximately 1 year's worth of usage.
Note on B12: User should make sure that the usage entered for Propane represents approximately 1 year's worth of usage.
Note on B13: User should make sure that the usage entered for Coal represents approximately 1 year's worth of usage.
Note on A28: Comparison EUI (required)
Note on A29: Goal developed with Owners Rep
Note on A30: Goal developed with Owners Rep

## All - Graphs
All Audit Levels - Sample Energy Graphs
[these graphs are samples only - not required formats. Choose the presentation of data that is the most useful for your site]
Axis labels need to update to Util 1, 2 and 3

## All - Space Functions
All Audit Levels - Space Function Breakdown
For areas comprising > 20% of gross floor area
Space Number | A | B | C | D | E | Unaccounted | <- Comment from Fred G - Is 'Unaccounted' column necessary
Function type* | Office | Other | Library | Retail Store | Parking | Other
Original intended use | Office | Office | Office | Office | Office | Office
Gross Floor Area* (per space) | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000
Conditioned Area* (Approx % of total function space) | 90% | 100% | 100% | 100% | 90% | 100%
Number of Occupants | 9999 | 9999 | 9999 | 9999 | 9999 | 9999
Approximate Plug Loads (W/sf) | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Use (hours/week) | 60 | 60 | 60 | 60 | 60 | 60
Use (weeks/year) | 52 | 52 | 52 | 52 | 52 | 52
Principal HVAC Type* | VAV RH System | VAV RH System | VAV RH System | VAV RH System | VAV RH System | VAV RH System
Principal Lighting Type* | 3-Lamp T8 | 3-Lamp T8 | 3-Lamp T8 | 3-Lamp T8 | 3-Lamp T8 | 3-Lamp T8
* Cells shown with an asterisk are required inputs for the Asset Score tool.
NOTE - It is permitted to enter "N/A" into fields where it is both unfeasible to gather such information and outside the scope of the audit. e.g., The W/sf in tenant occupied spaces that are not part of the audit scope.

## L1 - EEM Summary
Level 1 Audit - Recommended Energy Efficiency Measure Summary
Low-Cost and No-Cost Recommendations | Modified System | Impact on Occupant Comfort or IEQ | Other Non-Energy Impacts | Cost | Savings Impact | Typical ROI | Priority
Add VFD to Chilled Water Pumps | Ventilation | e.g., None | e.g., None | low | high | high | high
Convert manual radiator valves to thermostatic models | Space Heating | Improved occupant comfort | e.g., None | medium | high | medium | medium
Demand Controlled Ventilation | Ventilation | e.g., None | e.g., None | medium | low | medium | medium
Repair Steam Leaks | Space Heating | Improved occupant comfort | e.g., Increase equipment longevity | low | high | high | high
Potential Capital Recommendations | Modified System | Impact on Occupant Comfort | Other Non-Energy Impacts | Cost | Savings Impact | Typical ROI | Priority
Replace Boiler | Space Heating | Setpoint maintenance improvement | Reduced maintenance costs | high | medium | low | medium
List projects are examples. To be deleted before use.

## L2 - Envelope
Level 2 Audit - Building Envelope Characteristics
Total exposed above grade wall area |  | sq ft | Insulation level (R-value)
Below grade wall area |  | sq ft | Insulation level (R-value)
Roof area |  | sq ft | Insulation level (R-value)
Cool Roof (Y/N) | Y
Roof condition | Degradation/water damage
Fenestration Seal Condition | Weatherstripping present on doors and windows
Overall Enclosure Tightness Assessment | 22 (average) - Based on qualitative assessment of envelope construction.
Description of Exterior doors**
Cool Roof: Yes = White, not asphalt shingle; No = Other, including all asphalt shingles
|  |  | Glazing area, approx % of exposed wall area [10, 25, 50, 75, 90, 100]* | 25%
Above grade wall common area with other conditioned buildings (ft2)
General Building Shape* | Rectangular
Construction Properties (check all that apply)
Roof Construction* | Floor Construction* |  | Wall Construction(s)*
Fenestration Frame Type(s)* | Fenestration glass type(s)* |  | Foundation Type*
* Cells shown with an asterisk are required inputs for the Asset Score tool.
** only necessary when doors in aggregate represent more than 5% of the gross wall area
*** Doors where glazing of door area exceeds 50% of total door area shall be treated as windows.
NOTE - R-values or U-values of the walls and roof are required, where it can be established with non-invasive methods. If they cannot be established through non-invasive methods, it is valid to enter "N/A" into the Insulation Level field.
NOTE- To provide additional details for building dimentions and glazing area, use tab 'Asset Score Inputs (optional)'
Note on A7: degradation, standing water, water intrusion, etc.
Note on A8: condition/presence of weatherstripping, caulking at frames, sashes, wall joinery
Note on A9: Provide results of assessment of the enclosure’s overall tightness against air infiltration/exfiltration, coordinated with the assessment of building ventilation per section 5.4.4.2-item 14. This shall include a statement of the auditor’s methods used, criteria, evidence, and basis of evaluation. The assessment shall include an overall condition rating on a scale of 1 (poor = high infiltration/exfiltration) to 35 (excellent = tight, low infiltration/exfiltration).
Note on A10: Describe exterior door area and constructions (only necessary when doors in aggregate represent more than 5% of the gross wall area)
Built up with concrete deck
Built up with metal deck
Built up with wood deck
Metal surfacing
Shingles/Shakes
Other
Metal
Metal with thermal breaks
Wood/Vinyl/Fiberglass
Other
Concrete (above unconditioned space)
Slab on grade
Steel joist
Wood frame
Other
Single pane
Double pane
Double pane with low e
Triple pane
Brick/stone on masonry
Brick/stone on steel frame
Brick/stone on wood frame
Metal panel / Curtain wall
Sliding on steel frame
Triple pane with low e
Sliding on wood frame
Slab on Grade
Crawlspace
Basement
Unknown
Other
Other
Other
Exterior Glass Doors***

## L2 - HVAC
Level 2 Audit - HVAC System
HVAC Properties (check all that apply)
Zone Controls |  | Central Plant Controls
Outside Air* |  | Heat Recovery
Exhaust Fans
Cooling Distribution Equipment Type*
Heating Distribution Equipment Type*
Cooling Source* |  | Chiller Input*
Compressor*
Condenser*
____________
Heating Source* |  | Heating fuel*
_______________
Boiler Type*
____________
SHW/DHW Source* |  | SHW/DHW fuel*
* Cells shown with an asterisk are required inputs for the Asset Score tool.
Air Handler Unit (AHU)
Constant Volume
VAV
Hydronic to zone equipment (e.g. fan coil units, packaged terminal units or radiators)
Refrigerant to zone equipment (e.g. fan coil units, packaged terminal units or radiators)
None ( i.e. electrically driven PTAC, baseboards)
Other
No cooling
DX cooling
Central plant
Chiller
District chilled water
Other (specify)
No heating
Central furnace
Heat pump
Central plant
District steam or hot water
No DHW
Storage
Instantaneous
Heat pump
Other
Electricity
Gas
Oil (specify grade)
Other
Reciprocating
Air
Scroll/Screw
Water
Centrifugal
Electricity
Gas
Oil (specify grade)
Other
Forced draft
Other Draft Type
Steam boiler
Hydronic boiler
Indirect fired
Storage
Instantaneous
Direct fired
Electricity
Gas
Oil (specify grade) _______________________
Other: ________________________________________
Steam Absortion
Gas Absorption
Steam Turbine
Other
Indirect Evaporative
Direct Evaporative
Ground
Air Handler Unit (AHU)
Constant Volume
VAV
Hydronic to zone equipment (e.g. fan coil units, packaged terminal units or radiators)
Steam to zone equipment (e.g. fan coil units, packaged terminal units or radiators)
None ( i.e. electrically driven PTAc, baseboards)
Other
Progammable tstats
Manual tstats
Pnuematic
Building Automation System (BAS)
Direct Digital (DDC)
Pnuematic
Direct Digital (DDC)
Enthalpy Economizer
Temperature Economizer
Enthalpy
Sensible (Temp Only)
No Functioning Economizer
Water-side Economizer
Dedicated OA System
Hydronic AHU
DX AHU
#2 Oil
Propane
#2 Oil
Other (specify)
No Mechanical Exhaust (natural only, i.e. windows, doors or gravity shafts)
Exhaust Fans Only
Supply and Exhaust Fans
Other

## L2 Equipment Inventory
Level 2 Audit - Equipment Inventory
Inventory of equipment
The equipment inventory below shall include equipment that represents, in aggregate, 80% or more of the energy use allocated to HVAC & SHW/DHW in the end-use allocation
ID | Description | Location | Type | Units | Rated efficiency (as applicable) | Output Capacity | Area Served | Approx Year Installed | Condition (excellent, good, average, poor)
The data for all drop down lists is located from A60 to J107. Select this area and change font color to black to view data
Electricity |  | Master metered | [6 empty] | Admin/Professional office | Offices-enclosed
Natural gas |  | Master/sub-metered | [6 empty] | Bank/other financial | Offices-open plan
Chilled water |  | Tenant metered | [6 empty] | Government ofice | Conference rooms
Propane | [8 empty] | Medical office (non diagnostic) | Classrooms
Steam | [8 empty] | Mixed use office | Lobbies
[9 empty] | Other office | Assembly areas
[9 empty] | Laboratory | Kitchens/cafeterias
[9 empty] | Distribution/shipping center | Breakrooms
[9 empty] | Non refrigerated warehouse | Circulation space
[9 empty] | Convenience store | Storage areas
[9 empty] | Convenience store with gas | Restrooms
Grocery/food market
Other food sales
Fire/police station
Other public order and safety
Medical office (diagnostic)
Clinic/other outpatient health
Refrigerated warehouse
Religious worship
Entertainment/culture
Library
Recreation
Social/meeting
Other public assembly
College/university
Elementary/middle school
High school
Preschool/daycare
Other classroom education
Fast food
Restaurant/cafeteria
Other food service
Hospital/inpatient health
Nursing home/assisted living
Dormitory/fraternity/sorority
Hotel
Motel or inn
Other lodging
Vehicle dealership/showroom
Retail store
Other retail
Post office/postal center
Repair shop
Vehicle service/repair shop
vehicle storage/maintenance
Other service
Strip shopping mall
Enclosed mall
Note on A7: Jim Kelsey: This ID must be unique

## L2 - Lighting Elec & Plug Loads
Level 2 Audit - Lighting, Electrical, & Plug Loads
(group by lighting types / fixtures that collectively make up the largest fraction of gross floor area)
Lighting Source Type(s) | Ballast Type(s) | Control(s) | Space Type(s)* | Approx % Area Served
Fluorescent T12/High output T12 | Electronic | Occupancy sensor |  | 90
Major Process/Plug Load Type(s)** | Key Operational Details***
* e.g., Office, hallways, mechanical spaces, exterior, etc.
** e.g., Computers, Walk-in freezers, hydraulic press, etc.
***Describe approximate connected load, operating schedule, and other key parameters, where available

## L2 - End Use Breakdown
Level 2 Audit - End Use Breakdown | [5 empty] | Predefined End Use Breakdown Charts
This table is used to: |  |  |  |  | user input | (Use these or create your own as appropriate) | Notes
1) compile end use energy estimates and; |  |  |  |  | calculated |  | QA/QC Checks will not work properly if there are duplicate end use types in a single table
2) verify that base case energy use estimates align with historical energy use.
Utility #1 | Electricity
Units | kWh
kBTU/Unit | 3.412 | End Use Summary
End Use (customize for subject building, items below include potential areas) | Electricity | End Use (customize for subject building, items below include potential areas) | Total kBtu | % of Total kBtu
Space Heating | 50000 | Space Heating | 1863475 | 24.08%
Lighting | 50000 | Space Cooling | 3412000 | 44.09%
Air Distribution (fans) | 24000 | Air Distribution (fans) | 81888 | 1.058%
Refrigeration | 500000 | SHW/DHW | 2085 | 0.02694%
Space Cooling | 1000000 | Conveyance | 0 | 0%
Information Technology |  | Lighting | 170600 | 2.204%
|  | Plug Loads | 0 | 0%
|  | Process Loads | 2985 | 0.03857%
|  | Refrigeration | 1706000 | 22.04%
|  | Cooking | 500000 | 6.461%
Information Technology
|  | Other | 0 | 0%
Total | 1624000 | Total | 7739033 | 100%
Total from (annual summary) | 1000000 | Total from (annual summary) | 6191109
Difference | 624000 | Difference | -1547924
% Difference | 62.4% | % Difference | -25%
Utility #2 | Natural Gas | ** An individual end-use system that consumes less than 5% of the total annual building energy consumption need not be recorded for the purposes of the audit but may be included in an “Other” category.
Units | therms
kBTU/Unit | 100
End Use (customize for subject building, items below include potential areas) | Natural Gas
Space Heating | 15000
Lighting
Cooking | 5000
Refrigeration
Space Cooling
Information Technology
Air Distribution (fans)
Total | 20000
Total from (annual summary) | 25740
Difference | -5740
% Difference | -22.3%
Utility #3 | Purchased Steam
Units | lbs District Steam
kBTU/Unit | 1.194
End Use (customize for subject building, items below include potential areas) | Purchased Steam
Space Heating | 140000
Lighting
Process Loads | 2500
Refrigeration
Space Cooling
Information Technology
Air Distribution (fans)
Total | 142500
Total from (annual summary) | 148500
Difference | -6000
% Difference | -4.04%
Delivered Energy Type | Oil
Units | gallons (Fuel Oil #2)
kBTU/Unit | 139
End Use (customize for subject building, items below include potential areas) | Oil
Space Heating | 185
Lighting
SHW/DHW | 15
Refrigeration
Space Cooling
Information Technology
Air Distribution (fans)
Total | 200
Total from (annual summary) | 200
Difference | 0
% Difference | 0%

## L2 - EEM Summary
Level 2 Audit - Energy Efficiency Measure Summary Table
Measure Description | Annual Energy and Cost Savings | [6 empty] | Payback with Incentive
| Energy Cost Savings | Non-energy Cost Savings | Peak Demand Savings (kW) | Electricity [kWh] | Natural Gas [therms] | Purchased Steam [lbs District Steam] | Oil [gallons (Fuel Oil #2)] | Measure Cost | Potential Incentives | Measure Life (years) | Net Measure Cost | Simple ROI | Simple Payback (yr)
Low-Cost and No-Cost Recommendations
Re-enable Static Pressure Reset |  |  |  | 20000 | 8000 | 40000 |  |  |  |  | 0 | N/A | N/A
Hallway LED Lighting Upgrade |  |  |  | 25000 | -200 | [5 empty] | 0 | N/A | N/A
Modify Low Limit DAT Setting |  |  |  | 20000 |  | 40000 |  |  |  |  | 0 | N/A | N/A
Replace UH thermostats |  |  |  | 510000 | [6 empty] | 0 | N/A | N/A
Weatherstripping |  |  |  | 20000 | [6 empty] | 0 | N/A | N/A
Change Chiller Operation Schedule | [10 empty] | 0 | N/A | N/A
Enable Heat Timer Night Setbacks | [10 empty] | 0 | N/A | N/A
Test LC-NC EEM 1 |  |  |  | 9000 | [6 empty] | 0 | N/A | N/A
Potential Capital Recommendations
Chiller Plant Upgrade | [10 empty] | 0 | N/A | N/A
BMS Installation | [10 empty] | 0 | N/A | N/A
Replace AC-2 with new Heat Pump | [10 empty] | 0 | N/A | N/A
Steam Trap Replacements | [10 empty] | 0 | N/A | N/A
TRV Installation | [10 empty] | 0 | N/A | N/A
Spray Foam Insulation Duct | [10 empty] | 0 | N/A | N/A
Digital PRV Upgrade | [10 empty] | 0 | N/A | N/A
Replace Roof | [10 empty] | 0 | N/A | N/A
TOTALS (Recommended Measures) | 0 | 0 | 0 | 604000 | 7800 | 80000 | 0 | 0 | 0 |  | 0 | N/A | 0
Note on F5: Jim Kelsey: Unhide column G and H if Utils 3 or 4 used
Note on G5: Jim Kelsey: Hide if unused
Note on H5: Jim Kelsey: Hide if unused

## L2 - QA-QC
Level 2 Audit - QA/QC | [10 empty] | user input
This table is used to check that savings estimates do not exceed end use estimates, as well as ensure that savings interactions are considered. | [10 empty] | calculated
Projected EEM Savings Levels QA/QC
|  | Savings by End Use |  |  |  |  | End Use Savings Backchecks
|  | Utility 1 | Utility 2 | Utility 3 | Utility 4 | Total Energy | Utility 1 | Utility 2 | Utility 3 | Utility 4 | Total Energy
| Units | kWh | therms | lbs District Steam | gallons (Fuel Oil #2) | kBTU
| Conversion (kBtu/unit) | 3.412 | 100 | 1.194 | 139 | 1
Measure Description | End Use Category* | Electricity (kWh) | Natural Gas (therms) | Purchased Steam (lbs District Steam) | Oil gallons (Fuel Oil #2) | Total Energy [kBtu] | % Electricity Savings | % Natural Gas Savings | % Purchased Steam Savings | % Oil Savings | % Total
Low-Cost and No-Cost Recommendations
Re-enable Static Pressure Reset | Air Distribution (fans) | 9000 |  |  |  | 30708 | 37.5% | 0% | 0% | 0% | 37.5%
| Space Heating | 11000 | 8000 | 40000 |  | 885292 | 22% | 53.33% | 28.57% | 0% | 47.51%
Hallway LED Lighting Upgrade | Lighting | 25000 | -2 |  |  | 85100 | 50% | #DIV/0! | 0% | 0% | 49.88%
| Space Heating |  | -200 |  |  | -20000 | 0% | -1.333% | 0% | 0% | -1.073%
Modify Low Limit DAT Setting | Air Distribution (fans) | 9000 |  |  |  | 30708 | 37.5% | 0% | 0% | 0% | 37.5%
| Space Heating | 11000 |  | 40000 |  | 85292 | 22% | 0% | 28.57% | 0% | 4.577%
Replace UH thermostats | Refrigeration | 510000 |  |  |  | 1740120 | 102% | 0% | 0% | 0% | 102%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Weatherstripping | Space Cooling | 20000 |  |  |  | 68240 | 2% | 0% | 0% | 0% | 2%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Change Chiller Operation Schedule | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Enable Heat Timer Night Setbacks | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Test LC-NC EEM 1 | Air Distribution (fans) | 9000 | 1 |  |  | 30808 | 37.5% | #DIV/0! | 0% | 0% | 37.62%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Potential Capital Recommendations
Chiller Plant Upgrade | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
BMS Installation | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Replace AC-2 with new Heat Pump | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Steam Trap Replacements | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
TRV Installation | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Spray Foam Insulation Duct | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Digital PRV Upgrade | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
Replace Roof | [5 empty] | 0 | 0% | 0% | 0% | 0% | 0%
[6 empty] | 0 | 0% | 0% | 0% | 0% | 0%
| Total Savings (QA-QC) | 604000 | 7799 | 80000 | 0 | 2936268 | 60.4% | 30.3% | 53.87% | 0% | 47.43%
| Total Savings (EEM Summary) | 604000 | 7800 | 80000 | 0 | 2936368
| Total Historical Use | 1000000 | 25740 | 148500 | 200 | 6191109
*Add rows as needed to perform EEM's with more than two end use type savings
** Need to make adjustment if Oil appears in Column E in EEM Summary tab |  |  |  | RED FILL | indicates savings greater than end use/historical consumption, backcheck failed, or error in method
|  |  |  | RED TEXT | indicates savings greater than 50% of end use/historical consumption, verify calculation methodology
Total Savings Levels QA/QC |  |  |  | End Use Savings Interactions Backcheck:
Gross Total consumption | 6191109 | kBtu |  | Do savings by end use exceed exceed existing use for any category? |  |  |  |  | Yes, Error in Method
Gross EUI | 126.3492 | kBtu/SF |  | Savings Exceeds existing end use in the following categories: |  |  |  |  | Air Distribution (fans), Refrigeration
Gross Savings | 2936268 | kBtu
Projected Gross EUI after EEMs | 66.4253 | kBtu/SF |  | Do savings by end use exceed 50% of the existing use for any category? |  |  |  |  | Yes
Percent Total Savings | 47.43% |  |  | Savings exceeds 50% of existing end use in following categories: |  |  |  |  | Space Heating , Air Distribution (fans), Refrigeration
[13 empty] | Existing End Use Energy |  |  |  |  | Savings by End Use |  |  |  |  | Proposed End Use Energy
[13 empty] | Utility 1 | Utility 2 | Utility 3 | Utility 4 | Total | Utility 1 | Utility 2 | Utility 3 | Utility 4 | Total | Utility 1 | Utility 2 | Utility 3 | Utility 4 | Total
[12 empty] | Units | kWh | therms | lbs District Steam | gallons (Fuel Oil #2) | kBtu | kWh | therms | lbs District Steam | gallons (Fuel Oil #2) | kBtu | kWh | therms | lbs District Steam | gallons (Fuel Oil #2) | kBtu
[12 empty] | Conversion (kBtu/unit) | 3.412 | 100 | 1.194 | 139 | 1 | 3.412 | 100 | 1.194 | 139 | 1 | 3.412 | 100 | 1.194 | 139 | 1
[12 empty] | End Use Category | Electricity (kWh) | Natural Gas (therms) | Purchased Steam (lbs District Steam) | Oil gallons (Fuel Oil #2) | Total | Electricity (kWh) | Natural Gas (therms) | Purchased Steam (lbs District Steam) | Oil gallons (Fuel Oil #2) | Total | Electricity (kWh) | Natural Gas (therms) | Purchased Steam (lbs District Steam) | Oil gallons (Fuel Oil #2) | Total
[12 empty] | Space Heating | 50000 | 15000 | 140000 | 185 | 1863475 | 22000 | 7800 | 80000 | 0 | 950584 | 28000 | 7200 | 60000 | 185 | 912891
[12 empty] | Space Cooling | 1000000 | 0 | 0 | 0 | 3412000 | 20000 | 0 | 0 | 0 | 68240 | 980000 | 0 | 0 | 0 | 3343760
[12 empty] | Air Distribution (fans) | 24000 | 0 | 0 | 0 | 81888 | 27000 | 1 | 0 | 0 | 92224 | -3000 | -1 | 0 | 0 | -10336
[12 empty] | Water Distribution (pumps) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SHW/DHW | 0 | 0 | 0 | 15 | 2085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 2085
[12 empty] | Conveyance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Lighting | 50000 | 0 | 0 | 0 | 170600 | 25000 | -2 | 0 | 0 | 85100 | 25000 | 2 | 0 | 0 | 85500
[12 empty] | Plug Loads | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Process Loads | 0 | 0 | 2500 | 0 | 2985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2500 | 0 | 2985
[12 empty] | Refrigeration | 500000 | 0 | 0 | 0 | 1706000 | 510000 | 0 | 0 | 0 | 1740120 | -10000 | 0 | 0 | 0 | -34120
[12 empty] | Cooking | 0 | 5000 | 0 | 0 | 500000 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 500000
[12 empty] | Information Technology | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | TOTAL | 1624000 | 20000 | 142500 | 200 | 7739033 | 604000 | 7799 | 80000 | 0 | 2936268 | 1020000 | 12201 | 62500 | 200 | 4802765

## Asset Score Inputs (optional)
Asset Score Inputs
This tab contains all of the additional minimum required data fields necessary to generate an Energy Asset Score using the Full Input Mode of the tool. This tab may be used to score predominantly single-use type buildings with a single type of HVAC system.
Option 1
| Building Geometry |  |  | Glazing area, approx % of exposed wall area [10, 25, 50, 75, 90, 100]*
North
| Floor to Floor Height |  |  |  | South
| Floor to Ceiling Height |  |  |  | East
| Orientation |  |  |  | West
Option 2
| Building Footprint Dimensions |  |  | Provide building footprint dimernsions and approximate window to wall ratio for each side.
| Rectangular Shape |  |  | Rectangular Shape
|  | Surface ID | Length (ft) |  | Surface ID | Length (ft) | Glazing Area %
|  | A1 |  |  | A1
|  | B1 |  |  | B1
|  | C1 |  |  | C1
|  | D1 |  |  | D1
| H-Shape |  |  | H-Shape
|  | Surface ID | Length (ft) |  | Surface ID | Length (ft) | Glazing Area %
|  | A1 |  |  | A1
|  | A2 |  |  | A2
|  | A3 |  |  | A3
|  | B1 |  |  | B1
|  | B2 |  |  | B2
|  | B3 |  |  | B3
|  | C1 |  |  | C1
|  | C2 |  |  | C2
|  | C3 |  |  | C3
|  | D1 |  |  | D1
|  | D2 |  |  | D2
|  | D3 |  |  | D3
| L-Shape |  |  | L-Shape
|  | Surface ID | Length (ft) |  | Surface ID | Length (ft) | Glazing Area %
|  | A1 |  |  | A1
|  | A2 |  |  | A2
|  | B1 |  |  | B1
|  | B2 |  |  | B2
|  | C1 |  |  | C1
|  | D1 |  |  | D1
| T-Shape |  |  | T-Shape
|  | Surface ID | Length (ft) |  | Surface ID | Length (ft) | Glazing Area %
|  | A1 |  |  | A1
|  | B1 |  |  | B1
|  | B2 |  |  | B2
|  | C1 |  |  | C1
|  | C2 |  |  | C2
|  | C3 |  |  | C3
|  | D1 |  |  | D1
|  | D2 |  |  | D2
| U-Shape |  |  | U-Shape
|  | Surface ID | Length (ft) |  | Surface ID | Length (ft) | Glazing Area %
|  | A1 |  |  | A1
|  | A2 |  |  | A2
|  | A3 |  |  | A3
|  | B1 |  |  | B1
|  | B2 |  |  | B2
|  | C1 |  |  | C1
|  | D1 |  |  | D1
|  | D2 |  |  | D2

## Drop Down Lists
Property Use Types | Units | Energy Sources | Metering Configuration |  | Y/N | Building Geometry | System Types | HVAC System Type | Cooling Air Distribution Type | Heating Air Distribution Type | Fan Control | Cooling Source | Heating Source | Chiller Fuel Type | Heating Fuel Type | Chiller Type | Chiller Compressor Type | Chiller Condenser Type | Boiler Type | Boiler Draft Type | DHW Source | DHW Type | DHW Fuel Type | Delivered Energy Type | Energy Units | Conversion to kBTU (multiply by) | Notes | End Use Categories |  |  |  | Metered Energy Types | Default Energy Units | State | Boolean | Lighting Source Type(s) | Ballast Type(s) | Lighting Control(s) | Approx % Area Served
Adult Education | IP | Electricity | Direct metering | (Tenants directly metered) | Yes | Rectangular | Heating Plant Type | 'Packaged Terminal Air Conditioner' | Air Handling Unit (AHU) | Air Handling Unit (AHU) | Constant Volume | No Cooling | No Heating | Electric | Electric | Gas Absorption | Reciprocating | Air-cooled | Steam Low Pressure | Mechanical Draft | No DHW | Storage | Electricity | Oil | kWh | 3.412 | Based on ASHRAE 100-2015 Table 5-2 | Space Heating | 1 | 1 | 2000 | Electricity | kWh | AA | Y | CFL | Electronic | None | <10
Ambulatory Surgical Center | SI | Natural gas | Master meter without sub-metering | (Tenants not directly metered or sub-metered) | No | L-Shape | Cooling Plant Type | 'Four Pipe Fan Coil Unit' | Hydronic to Zone Equipment | Hydronic to Zone Equipment | Variable Air Volume | DX Cooling | Central Furnace | Gas | Gas | Steam Absorption | Scroll/Screw | Water-cooled | Steam High Pressure | Natural Draft | Indirect Fired | Instantaneous | Gas | Propane | MWh | 3412 | Based on ASHRAE 100-2015 Table 5-2 | Space Cooling | 2 | 2 | 2001 | Natural Gas | therms | AE | N | Fluorescent T5/High output T5 | Magnetic | Manual | 10
Aquarium |  | Chilled Water | Master meter with sub-metering | (Tenants sub-metered by building owner) |  | U-Shape | Boiler Type | 'Packaged Terminal Heat Pump' | Refrigerant to Zone Equipment | Steam to Zone Equipment |  | Chiller | Heat Pump | Oil (Specify Grade) | Oil (Specify Grade) | Steam Turbine | Centrifugal | Ground coupled | Hydronic | Other | Direct Fired |  | Oil (Specify Grade) | Coal | MMBtu | 1000 |  | Air Distribution (fans) | 3 | 3 | 2002 | Purchased Steam | lbs District Steam | AL |  | Fluorescent T8/Super T8 | N/A | Occupancy sensor | 25
Athletic Fields |  | Hot Water | Combination |  |  | H-Shaped | Cooling Delivery Type | 'Packaged Rooftop Air Conditioner' | None | None |  | District Chilled water | Boiler | Other | Other | Other | Other | Evaporative |  |  | Heat Pump |  | Other (Specify) | Other | therms | 100 |  | Water Distribution (pumps) | 4 | 4 | 2003 | Purchased Hot Water | MMBtu | AK |  | Fluorescent T12/High output T12 | Other | Photocell | 50
Automobile Dealership |  | Fuel Oil | Unknown |  |  | T-Shape | Heating Delivery Type | 'Packaged Rooftop Heat Pump' | Other | Other |  | Others (Specify) | District Steam | [7 empty] | Other |  |  |  | dekatherms | 1000 |  | SHW/DHW | 5 | 5 | 2004 | Purchased Chilled Water | MMBtu | AP |  | High pressure sodium |  | Timer | 75
Bank Branch |  | Propane |  |  |  | O-Shape | Heat Recovery Type | 'Packaged Rooftop VAV with Hot-Water Reheat' |  |  |  |  | District Hot Water | [11 empty] | MJ | 0.94778 | Based on ASHRAE 100-2015 Table 5-2 | Conveyance | 6 | 6 | 2005 | Oil | gallons (Fuel Oil #2) | AS |  | Incandescent/Halogen |  | BAS | 90
Bar/Nightclub |  | Steam |  |  |  | Other | DX System Type | 'Packaged Rooftop VAV with Electric Reheat' |  |  |  |  | Other (Specify) | [11 empty] | cubic feet (NG) | 1.03 | Based on ASHRAE 100-2015 Table 5-2 | Lighting | 7 | 7 | 2006 | Propane | gallons (Propane) | AZ |  | Induction |  | Advanced | 100
Barracks |  | Renewable Energy |  |  |  | Unknown |  | 'VAV with Hot-Water Reheat' | [16 empty] | MCF (NG) | 1030000 | Based on ASHRAE 100-2015 Table 5-2 | Plug Loads | 8 | 8 | 2007 | Coal | short ton (coal) | AR |  | LED |  | Other
Bowling Alley |  | Other | [5 empty] | 'VAV with Electric Reheat' | [16 empty] | lbs District Steam | 1.194 | Energy Star Portfolio Manager Thermal Conversions | Process Loads | 9 | 9 | 2008 | Other | kWh | CA |  | Mercury vapor
Casino | [7 empty] | 'Warm Air Furnace' | [16 empty] | lbs District Steam (15 psig) dumped after use | 1.141 | Enthalpy of evaporation plus difference saturated water enthalpy and 55 degree water at atmospheric pressure, Source 1 | Refrigeration | 10 | 10 | 2009 | Thermal - On-Site Generated |  | CO |  | Metal halide
College/University | [7 empty] | 'Ventilation Only' | [16 empty] | lbs District Steam (50 psig) dumped after use | 1.1564 | Enthalpy of evaporation plus difference saturated water enthalpy and 55 degree water at atmospheric pressure, Source 1 | Cooking | 11 | 11 | 2010 | Electricity - On-Site Generated | kWh | CT |  | Other
Convenience Store with Gas Station | [7 empty] | 'Dedicated Outdoor Air System' | [16 empty] | lbs District Steam (140 psig) dumped after use | 1.1721 | Enthalpy of evaporation plus difference saturated water enthalpy and 55 degree water at atmospheric pressure, Source 1 | Information Technology | 12 | 12 | 2011 | Thermal or Electricity - Exported | MMBtu | DE
Convenience Store without Gas Station | [7 empty] | 'Water-Loop Heat Pump' | [16 empty] | lbs (steam, 15 psig) condensate reused | 0.9457 | Enthalpy of evaporation only, Source 1 | Other | 13 |  | 2012 | 0 |  | DC
Convention Center | [7 empty] | 'Ground Source Heat Pump' | [16 empty] | lbs (steam, 50 psig) condensate reused | 0.9121 | Enthalpy of evaporation only, Source 1 |  | 14 |  | 2013 |  |  | FM
Courthouse | [24 empty] | lbs (steam, 140 psig) condensate reused | 0.8619 | Enthalpy of evaporation only, Source 1 |  | 15 |  | 2014 |  |  | FL
Data Center | [24 empty] | short ton (coal) | 19622 | Source 2 |  | 16 |  | 2015 |  |  | GA
Distribution Center | [24 empty] | gallons (Fuel Oil #1) | 135 | Based on ASHRAE 100-2015 Table 5-2 |  | 17 |  | 2016 |  |  | GU
Drinking Water Treatment & Distribution | [24 empty] | gallons (Fuel Oil #2) | 139 | Based on ASHRAE 100-2015 Table 5-2 |  | 18 |  | 2017 |  |  | HI
Enclosed Mall | [24 empty] | gallons (Fuel Oil #3) | 141.8 | (Energy Content of #4 minus Energy Content of #2) x 40% + Energy Content of #2 |  | 19 |  |  |  |  | ID
Energy/Power Station | [24 empty] | gallons (Fuel Oil #4) | 146 | Based on ASHRAE 100-2015 Table 5-2 |  | 20 |  |  |  |  | IL
Fast Food Restaurant | [24 empty] | gallons (Fuel Oil #5 Light) | 148 | Based on ASHRAE 100-2015 Table 5-2 |  | 21 |  |  |  |  | IN
Financial Office | [24 empty] | gallons (Fuel Oil #5 Heavy) | 150 | Based on ASHRAE 100-2015 Table 5-2 |  | 22 |  |  |  |  | IA
Fire Station | [24 empty] | gallons (Fuel Oil #6) | 154 | Based on ASHRAE 100-2015 Table 5-2 |  | 23 |  |  |  |  | KS
Fitness Center/Health Club/Gym | [24 empty] | gallons (Diesel) | 139 | Assumed to be the same as Fuel Oil #2 |  | 24 |  |  |  |  | KY
Food Sales | [24 empty] | gallons (Gasoline) | 124 | Source 2 |  | 25 |  |  |  |  | LA
Food Service | [24 empty] | gallons (Propane) | 92 | Energy Star Portfolio Manager Thermal Conversions |  | 26 |  |  |  |  | ME
Hospital (General Medical & Surgical) | [24 empty] | cubic feet (Propane) | 2.516 | Energy Star Portfolio Manager Thermal Conversions |  | 27 |  |  |  |  | MH
Hotel | [28 empty] | 28 |  |  |  |  | MD
Ice/Curling Rink | [28 empty] | 29 |  |  |  |  | MA
Indoor Arena | [24 empty] | Source 1: | http://www.spiraxsarco.com/Resources/Pages/Steam-Tables/saturated-steam.aspx |  |  | 30 |  |  |  |  | MI
K-12 School | [24 empty] | Source 2: | http://www.eia.gov/energyexplained/?page=about_energy_units |  |  | 31 |  |  |  |  | MN
Laboratory | [33 empty] | MS
Library | [33 empty] | MO
Lifestyle Center | [33 empty] | MT
Mailing Center/Post Office | [33 empty] | NE
Manufacturing/Industrial Plant | [33 empty] | NV
Medical Office | [33 empty] | NH
Mixed Use Property | [33 empty] | NJ
Movie Theater | [33 empty] | NM
Multifamily Housing | [33 empty] | NY
Multifamily Housing - Dwelling Units
Multifamily Housing - Common Areas
Museum | [33 empty] | NC
Non-Refrigerated Warehouse | [33 empty] | ND
Office | [33 empty] | MP
Other | [33 empty] | OH
Other – Education | [33 empty] | OK
Other – Lodging/Residential | [33 empty] | OR
Other – Office | [33 empty] | PW
Other – Entertainment/Public Assembly | [33 empty] | PA
Other – Other | [33 empty] | PR
Other – Public Service | [33 empty] | RI
Other – Recreation | [33 empty] | SC
Other – Restaurant/Bar | [33 empty] | SD
Other – Retail/Mall | [33 empty] | TN
Other – Services | [27 empty] | 0 | [5 empty] | TX
Other – Specialty Hospital | [33 empty] | UT
Other – Stadium | [33 empty] | VT
Other – Technology/Science | [33 empty] | VI
Other – Utility | [33 empty] | VA
Outpatient Rehabilitation/Physical Therapy | [33 empty] | WA
Parking | [33 empty] | WV
Performing Arts | [33 empty] | WI
Personal Services (Health/Beauty, Dry Cleaning, etc) | [33 empty] | WY
Police Station
Pre-school/Daycare
Prison/Incarceration
Race Track
Refrigerated Warehouse
Repair Services (Vehicle, Shoe, Locksmith, etc)
Residence Hall/Dormitory
Residential Care Facility
Restaurant
Retail Store
Roller Rink
Self-Storage Facility
Senior Care Community
Single Family Home
Social/Meeting Hall
Stadium (Closed)
Stadium (Open)
Strip Mall
Supermarket/Grocery Store
Swimming Pool
Transportation Terminal/Station
Urgent Care/Clinic/Other Outpatient
Veterinary Office
Vocational School
Wastewater Treatment Plant
Wholesale Club/Supercenter
Worship Facility
Zoo
This sheet to be hidden when distributed
Note on A1: Jim Kelsey: This list from ENERGY STAR
Note on B1: Jim Kelsey: Not yet implemented
Note on C1: Jim Kelsey: This list consistent with ASHRAE Std 105
Note on G1: Jim Kelsey: [compatible with DOE asset score, from BuildingSync enumerations]
Note on AC1: Jim Kelsey: From 5.4.4.1